## Intro (hidden)
Mountain Regional Water
RFP - Enterprise asset management System (EAM)
2024-05-14
Instructions
This workbook will collect critical information about your Enterprise Asset Management (EAM) System Solution in relation to the functional requirements of this client.
1. Please complete all the entries on the Functional Requirements sheet of this workbook.
2. If possible, provide a sample, an example, or relevant documentation to show your current capabilities/features.
3. To capture the functional requirements, mark the most accurate answer from those available in Columns D-H: - STD: The required feature is a standard prodcut offering or EAM out-of-the-box feature. - CTMZ: Customization is required to meet the requirement. - INTG: Integration with a third-party solution is required to meet the requirement. - FUFT: Future functionality: Supported in the next release or roadmap of the software. - NSPT: Not supported and not planned to be supported. Please respond as appropriate and include descriptions as needed. Please note any documentation accompanying your response to this RFP by referencing it in the relevant area or cell (Columns I and J). You may also insert a hyperlink on the spreadsheet or attach a Supporting Document when you email the completed workbook. Simply note that the material is attached separately in Column I or J.
4. Include the relevant module in Column K.

## Instructions
Mountain Regional Water
RFP - EAM Technology Solution Selection and Implementation
2024-07-12
Instructions
This workbook assists with understanding the functionality your technology solution provides in alignment with detailed specific requirements the District has identified.
1. Please complete all the entries on the Functional Requirements sheet of this workbook.
2. In each of the three listed worksheets, mark the most accurate answer from those available in Columns D-H: - STD: The required feature is a standard prodcut offering out-of-the-box feature. - CTMZ: Customization is required to meet the requirement. - INTG: Integration with a third-party solution is required to meet the requirement. - FUFT: Future functionality: Supported in the next release or roadmap of the software. - NSPT: Not supported and not planned to be supported.
3. Provide any comments in column "I"
4. Cite any specific modules related to your technology solution that would be required to provide the listed requirement in column "J"

## EAM Functional Requirements
FR # | FUNCTIONAL REQUIREMENTS | FUNCTIONAL CATEGORY | VENDOR RESPONSE (Mark the appropriate column with an X) |  |  |  |  | COMMENTS Please provide detailed comments or reference to support your response in Columns D-H | APPLICABLE MODULE(S) Which module includes this functionality?
STD: Standard out-of-the-box feature
CTMZ: Customization is required to meet the requirement
INTG: Integration with a third-party solution is required to meet the requirement
FUFT: Future functionality: Supported in the next release or roadmap of the software.
NSPT: Not Supported
|  |  | STD | CTMZ | INTG | FUFT | NSPT
1 | EAM can use an attributed asset registry contained in GIS | Asset Registry Management
2 | Staff can "replace" an asset at a location and retain the history of previous assets at that location | Asset Registry Management
3 | Assets and associated records can be removed/archived | Asset Registry Management
4 | Staff can onboard an asset via an asset onboarding form that displays required data attributes to be completed | Asset Registry Management
5 | Can track where an asset has been taken for service and the anticipated resolution date and put the asset in "inactive" or similar status | Asset Registry Management
6 | When creating a Service Request, there is the option to select a “Problem Code” to identify the type of problem | Service Request Management
7 | The initiator can enter comments about the Service Request | Service Request Management
8 | Ability to create a Service Request via an email or online and it automatically routes to a Supervisor for assignment to staff in the field | Service Request Management
9 | The initiator of the Service Request has visibility of the status of the response to the service request and any related work orders | Service Request Management
10 | Closing the Service Request sends a notification to the initiator with the reason the Service Request was closed | Service Request Management
11 | Closing the Service Request sends a notification to the Customer with the reason the Service Request was closed | Service Request Management
12 | Ability to create a Work Order from the Service Request while in the field, carrying information from the Service Request such as who initiated, description, date initiated and status updates from the Work Order back to the Service Request | Service Request Management
13 | Attach documents to Service Request | Service Request Management
14 | Archive service request history | Service Request Management
15 | Service Request/Work order displays work type, priority, required due date, asset criticality to support planning and scheduling | Planning and Scheduling
16 | Shows available staff, their workload, planned work hours vs. actual work hours, and skillsets (work management) | Planning and Scheduling
17 | Ability to level resources by skill set based on the forecasting workload | Planning and Scheduling
18 | Ability to assign multiple staff to a single work order that auto routes based on required sequences of activities on a single work order | Planning and Scheduling
19 | Work Order displays required parts and materials for an asset | Planning and Scheduling
20 | Staff can see availability of parts and materials at different warehouse locations | Planning and Scheduling
21 | Preventive maintenance Work Orders can be scheduled, tracked and timed adjusted for when they auto generate | Planning and Scheduling
22 | Work Orders by type and asset location, can display location restrictions, safety requirements, and shutdown (Lockout/Tagout) requirements to support planning and scheduling | Planning and Scheduling
23 | Provides equipment scheduling functionality | Planning and Scheduling
24 | Provides contractor scheduling functionality | Planning and Scheduling
25 | Can create work orders with types, including Reactive, Preventive, Predictive, Corrective, and Emergency and Projects (condition, inspection, safety, contractor, calibration) | Issuing and Completing Work Orders
26 | Can create work orders against a group of assets, as well as a blanket work orders against a system/location/process | Issuing and Completing Work Orders
27 | Create, assign, track, complete, and escalate work orders from office or field deployed to a mobile device by user or crew | Issuing and Completing Work Orders
28 | Ability to view all open work orders against the same asset | Issuing and Completing Work Orders
29 | Ability to capture cost data (labor hours and parts and materials used) | Issuing and Completing Work Orders
30 | Utilize work order templates to ensure consistency in work order types as well as capture data | Issuing and Completing Work Orders
31 | Ability to trigger a condition-based work order using a conditional field trigger | Issuing and Completing Work Orders
32 | Provides ability to track contractor labor, materials, and unit costs, as well as the ability to view contract budget usage | Issuing and Completing Work Orders
33 | Workflow a work order based on Statuses (Created; Scheduled; Issued; On-Hold; Completed; Closed) to Supervisor when a work order has been “completed” to review and "close | Issuing and Completing Work Orders
34 | Link asset’s work order activity code to Financial Management (ERP) account code | Issuing and Completing Work Orders
35 | Create a new work order for follow up work, tying back to the original work order | Issuing and Completing Work Orders
36 | Allow the user to capture that an asset has failed | Issuing and Completing Work Orders
37 | EAM shall send a notification when an asset has failed | Issuing and Completing Work Orders
38 | Provide field to capture failure mode | Issuing and Completing Work Orders
39 | Track and report on asset level failure history and failure frequency | Issuing and Completing Work Orders
40 | Track and report on asset level failure costs | Issuing and Completing Work Orders
41 | Utilize drop-down menus in work orders to record tasks/activities performed | Issuing and Completing Work Orders
42 | The work order has a place to capture comments, and comments are associated back to the asset | Issuing and Completing Work Orders
43 | Provides ability for supervisor to re-assign staff for workflows so when a person is out of the office, work can continue to flow | Issuing and Completing Work Orders
44 | A user can view all assets, related work orders, and attachments associated with the work order | Issuing and Completing Work Orders
45 | The work order cannot be completed unless labor hours and parts/materials are recorded | Issuing and Completing Work Orders
46 | A user can close multiple work orders at a time with a single status change | Issuing and Completing Work Orders
47 | Archive work order history | Issuing and Completing Work Orders
48 | Supports issuing parts and materials to the work order | Inventory Management
49 | Provides for setting reorder points based on minimum and maximum spare parts stock levels at multiple warehouse locations | Inventory Management
50 | Notifies staff that minimum count has been reached and triggers a workflow to reorder materials and restock to the maximum level | Inventory Management
51 | Allows staff to request a non-stocked part/material | Inventory Management
52 | Purchase Request/Orders supports staff with recording anticipated delivery date(s) and revising over time - between EAM and ERP | Inventory Management
53 | Purchase Request is work flowed for approval, which flows varies by division and dollar amount; approval workflow should be visible - between EAM and ERP | Inventory Management
54 | Supports user with searching for part/material to order and displays if a qualified vendor is under contract | Inventory Management
55 | Ability to show status of Purchase Order in EAM and ERP | Inventory Management
56 | Ability to display and/or link to vendor/warranty information | Inventory Management
57 | Supports staff with recording if there was an issue with delivery | Inventory Management
58 | Supports staff with recording vendor performance | Inventory Management
59 | Ability to develop a cycle count "work order/assignment" that shows the list of parts/materials and does not show the balance | Inventory Management
60 | The cycle count "work order/assignment" allows staff to record the balance counted | Inventory Management
61 | Provides a drop-down menu of reasons for variances that can be applied to individual part/material | Inventory Management
62 | Has a variance report that includes the reason for the variance | Inventory Management
63 | Parts can be moved between established locations and tracked | Inventory Management
64 | Allows parts previously issued to a work order to be returned to stock | Inventory Management
65 | Provides ability to manage shelf-life issues (i.e., motor oil, food grade oil, chemicals, etc.) | Inventory Management
66 | Ability to reserve parts | Inventory Management
67 | Ability to view usage history | Inventory Management
68 | Notifies staff when a part is ready for pick-up | Inventory Management
69 | Provides configurable Inspection Forms | Inspections
70 | Supports recording inspection results via a mobile device at an asset level or by group | Inspections
71 | Provides ability to auto create service requests/corrective work orders for inspections that score below a particular threshold value | Inspections
72 | Provides field for staff record asset condition scores and propose new scores at an asset level | Inspections
73 | Displays and tracks asset condition scores at an asset level on work orders | Condition Assessment
74 | Provides configurable Condition Assessment Forms | Condition Assessment
75 | Provides field for staff record asset condition scores and propose new scores at an asset level | Condition Assessment
76 | Provides ability to auto create service requests/corrective work orders for inspections that score below a particular threshold value | Condition Assessment
77 | Provides an asset level risk register Likelihood of Failure x Consequence of Failure (LoF X CoF) | Risk Management
78 | Displays and tracks asset risk scores at an asset level on work orders by using data from asset register and work order history | Risk Management
79 | Can assign risk mitigation activities to identified staff for completion to support effectiveness analysis | Risk Management
80 | Provides age based and/or condition based life-cycle modeling functionality to obtain future funding needs projections | Life-Cycle Modeling

## Technical Requirements
TR # | TECHNICAL REQUIREMENTS | TECHNICAL CATEGORY | VENDOR RESPONSE (Mark the appropriate column with an X) |  |  |  |  | COMMENTS Please provide detailed comments or reference to support your response in Columns D-H | APPLICABLE MODULE(S) Which module includes this functionality?
STD: Standard out-of-the-box feature
CTMZ: Customization is required to meet the requirement
INTG: Integration with a third-party solution is required to meet the requirement
FUFT: Future functionality: Supported in the next release or roadmap of the software.
NSPT: Not Supported
|  |  | STD | CTMZ | INTG | FUFT | NSPT
1 | User-defined fields and user customizable menus and screens | User Management
2 | Intuitive system navigation (e.g., configurable menus, screens, drop-down lists, etc.) | User Management
3 | Data input supported by drop-down menus or lists with selection options | User Management
4 | Electronic approval routing | User Management
5 | Customer-definable, rules-based workflow | User Management
6 | Unlimited notes or text fields | User Management
7 | Full audit trail and history throughout all modules: date, time, who made the change, etc. | User Management
8 | Role-based, user-configurable menus, screens, fields, and reports | User Management
9 | Context-sensitive help | User Management
10 | Support customization based on user type | User Management
11 | Provide role-based user dashboards to facilitate and support work management | User Management
12 | Ability to generate audit log to track users’ entry/edit of data fields | User Management
13 | Ability for third party stakeholders to have portal to record and load information or initiate requests | User Management
14 | Ability to provide complete confidentiality of data | User Management
15 | Ability to use QR Code and Bar Code to access data including asset, location, material inventory, and work orders | User Interface/User Experience
16 | Provide robust search functionality to include text fields, photos, attachments, and database elements and also to enable query and filter capabilities to manage search results and save and share common queries | User Interface/User Experience
17 | Ability to assign security roles to develop and configure business process workflows and forms / work orders | User Interface/User Experience
18 | Ability to have defined rules that follow business process workflow stages with separately associated forms to ensure adherence to the defined process | User Interface/User Experience
19 | Provide user access via internet/browser and the latest versions of Chrome and Edge | User Interface/User Experience
20 | Ability to provide English language support on all platforms | User Interface/User Experience
21 | Provides data visualization tools for clear and insightful analysis. | Reporting and Dashboarding
22 | Ability to create standard and ad hoc reports for analysis of data and trends (i.e., for budget tracking and analysis, asset valuation and trends) which can export to Excel and external analytical tools like Power BI. | Reporting and Dashboarding
23 | Ability to do roll-up reporting (i.e., by asset, asset class, process, location for costs, location, crew, work order type, etc.) | Reporting and Dashboarding
24 | Ability to report/display asset health using metrics, and metrics could include work order history, cause of failure, task types, asset operating ranges, risk score, etc. | Reporting and Dashboarding
25 | Provide dashboards with key performance indicators (KPIs) | Reporting and Dashboarding
26 | Supports users with custom creating reports/dashboard items | Reporting and Dashboarding
27 | Can be accessed via various devices (tablet, desktop, laptop, smartphone) and operating systems (Android, Apple OS, Windows, etc.); note that preference is Windows in browser and Apple OS in a native tablet app | Infrastructure
28 | Ability to use a mobile solution in connected or disconnected mode | Infrastructure
29 | Provide separate environments for 1) development/testing, 2) training, and 3) production workflows | Infrastructure
30 | Ability to provide an uptime Service Level Agreement of at least 99.9 percent | Infrastructure
31 | Ability to routinely backup (at least once daily) and provide version control on database information, if needed by MRW | Infrastructure
32 | Ability to deploy database replication (mirroring) and disaster recovery technologies/procedures | Infrastructure
33 | Ability to handle up to 100 work orders and service requests per day with 20 second video and photo attachments and storage without performance degradation | Infrastructure
34 | Ability to demonstrate commitment to develop, upgrade (via product roadmap), patch, and support platforms, including database functionality and mobile applications, for at least five years into the future, including in the base subscription rate | Sustainability
35 | Ability to provide customer service support for issues during MRW’s standard business hours (8-5 pm weekdays Mountain Standard Time Zone) | Sustainability
36 | Import/export data with Office 365 and ability to easily extract data (in MS Office, GDB, CSV formats) | Data Management
37 | Ability to import images, photos, drawings, videos, etc. | Data Management
38 | Ability to encrypt data at rest and in transit for ArcGIS Online and other back-office integration points as well as communications to mobile devices using current industry best practices and technology, including but not limited to, HTTP Secure Connections and/or VPN | Data Management
39 | Ability to use Open APIs to integrate with third party solutions | Interface Requirements
40 | ArcGIS Enterprise - for tracking linear asset inventory; fire hydrants and PRV, leaks dashboard, annexations | Interface Requirements
41 | ArcGIS Online - Cloud-based mapping and analysis | Interface Requirements
42 | Google Drive - file storage system | Interface Requirements
43 | Verizon Connect - vehicle tracking and maintenance | Interface Requirements
44 | Ignition - SCADA system to detect leaks, track run times/flow and equipment performance | Interface Requirements
45 | DocuWare - document management system; AP invoice approvals | Interface Requirements
46 | Utilisync - 811 DIG for making utilities infrastructure and system of record | Interface Requirements
47 | ERP System TBD - all functionality | Interface Requirements
48 | Email/SMS to support notifications | Interface Requirements
49 | Ability to connect with printer to print hard copy bills | Interface Requirements
50 | Ability to provide document management functionality | Optional Functionality
51 | Ability to provide blue stake system for marking utility infrastructure and system of record | Optional Functionality

## Optional For RFP (hidden)
OPTIONAL SYSTEMS to be added to the RFP
1. Secure online payment portal - if implemented would replace Express Bill Pay system and integration. | Provides a secure online portal for customers to make payments electronically. Support for various payment methods (checks, ACH, wire transfers) with integrated printing and electronic payment capabilities.
2. Mass notification system - if implemented would replace Everbridge and required integration | Ability to issue mass and emergency nofications
3. Document Management System - if implemented would replace Docuware and required integration | Include as optional for the purpose of reviewing benefit and cost of replacing docuware.